## Slide 1
X THE PLACE OF USEFUL LEARNING
Scottish Water BBN
Presentation

## Slide 2: Scottish Water and Bacteriological Risk
How to predict when a failure in water quality will occur by using a Bayesian Belief Network

## Slide 3: Data Handling Choices Made
We began by selecting the variables to include and exclude from the model:
Initially wtw_mains.power was excluded from the variables as it has a consistent value of 1 for all readings and therefore should have no effect on the other variables
Srs_fails_in_previous year was dropped as the cumulative total fails were also available and this would reduce the risk of multicollinearity.
The srs_sample_month was also dropped as to model any time-based dependencies would require a Dynamic Bayesian Network which is beyond the scope of this assignment.
After dropping these more obvious variables we then used the steps module in R to systematically remove variables one at a time by comparing models with different combinations of variables and rejecting any that failed the F test.
After carrying this out we were left with 33 variables which we decided to proceed with.
As there were many continuous variables these had to be discretised to allow for them to be understood by the BNNlearn package.
By making use of GeNie, the columns were analysed for all the values present and then discretised, with the reasoning behind some of the key variables discretised explained below:
Chlorine based off safety limits- safe and dangerous
Coliforms as should be 0 present - safe and dangerous
Cell counts as should be below 10,000 otherwise significant
Age of Water – this is how long the water has been in the storage reservoir. For testing purposes, it is split into <=7 days, 7 to 21 days and >= 21 days
Srs_colony_22 – the number of CFU allowed in 1 mL of water at 22⁰C- should be less than 100 to be classed as safe, higher than 100 classed as danger
After discretising the data, we filled in the N/A values in rows where it made sense to do so, and dropped the rows where it did not, to ensure that the data could be read using a BNN algorithm without causing errors

## Slide 4: Structure Learning
To prepare the dataset for structure learning the categorical variables were factorised, while the variables containing numbers were converted from int type to numerical type.
We created several constraint-based and score-based models. To help us decide which algorithm to proceed with we made use of k-fold validation with 10 folds.
As can be seen from the first graph, the hill climbing, and tabu search algorithms performed significantly better than growth shrink or incremental association, suggesting that the score-based methods produced better models for this dataset. In the second graph we replotted the chart with just hill-climbing and tabu search for a better comparison
While both methods exhibit extremely similar performances, the hill climbing algorithm produced a model with a lower maximum loss than the tabu search. We decided to proceed using this model as our standard for further tests and analysis.
The hill-climbing model was used to estimate the probability of it correctly predicting whether there would be any failures in the PCV, which managed to achieve an F1 score of 0.827, suggesting it’s validity in real world use.

## Slide 5: Parameter Learning
In order to learn more about the relationships between the different variables in the model, we carried out parameter learning on the following parameters:
PCV Failure
The two factors affecting this are Phosphate Dosing and the Bacto Fails Risk Factor. As can be seen in Fig 1, the higher the risk factor gets the more likely it is that the PCV will fail, rising from a 0.05% chance of failure up to nearly 15% chance at a risk factor of 10. This is mitigated somewhat when phosphate dosing is implemented, dropping the failure rate at a risk factor of 12 down to 10%.
Bacto Failure Risk Factor
This is impacted by whether or not clarification is carried out during water treatment, whether or not raw water is stored during water treatment and the number of fails the previous year.
Predictably the more failures the previous year the higher the risk factor is, however, less apparent is the effect the other two factors have on the risk. If raw water is stored then the chance of a higher risk factor being assigned is increased, contrarily if a sedimentation or clarification stage is present then the risk is reduced somewhat.
Source Reservoir Failures in Previous Years
The main factor affecting the number of failures in a year seemed to be most dependant on the age of the water, with water stored for longer than the standard test period of 21 days having a significantly higher probability of causing more than 1 failure in the source reservoir’s quality.

## Slide 6: Results of Analysis and BBN Learning Points
From our analysis we determined several key factors that effect the likelihood of a failure occurring in the Prescribed Concentration or Value. These are:
Whether or not Phosphate dosing for plumbosolvency control is present
If the raw water is stored prior to treatment
If a clarification or sedimentation stage is present
The number of failures that have occurred in the previous year
How long the water is stored for
Whether a chloramination process was used
If raw water pre-treatment such as screens or microstrainers are present
Whether or not the flocculant is dosed, and if so with iron or aluminium
The model also suggests that further investigation should be carried out on water from the North region of Scottish Water’s supply as the chance of failure in this region is higher than the other three. It could also be worth looking deeper into differences between each service reservoir in an SR cascade as which reservoir the water originates from seems to affect the risk of PCV failure.
The model has some limitations that must be mentioned:
Currently, the model cannot handle continuous data, and therefore any future data that is fed into it will need to be discretised in the same manner as the original data before it can be input, which could possibly affect the structure of the learned network and any predictions that arise from it.
The data fed into the model contained many variables, so it was difficult to select which ones to include and which to exclude. It is possible that important values have been dropped and therefore the model may not fully account for all the factors affecting the PCV failure.
As the model is based off the Scottish Water service and we are not experts on the subject, it is possible that important connections are missed, or meaningless ones are added. To alleviate this expert knowledge could be incorporated to create an expert network with these connections restored/removed.
By addressing these limitations, it is hoped that the model can be improved and therefore it will be able to provide more useful insights and better predict the chance of a failure occurring.

## Slide 7
X THE PLACE OF USEFUL LEARNING
Notes: Thank you for listening to our presentation, if you have any questions we would be more than happy to answer them